## Slide 1
Ground Floor
First Floor
Counter
WC1
WC2
Duct
Store
Notes:
Buildings are 40m x 70m
Grid is 10m x 10m
Circulation Space / Corridor
Office
Coffee Area
External Stairs / Fire Escape
WC1
WC2
Duct
Store
Lift
Lift
A
A
A
A
A
A
A
A
A
A
A
8 seated
40 13A Sockets
20 TO CAT6
FD
FD Rack:Distributes network resources across the floor.
BD
CD
BD Rack: Central point for the building's network.
CD Rack: Interconnects multiple buildings or networks.
Cable Tray: Indicates the routing system for cables, possibly for power and data.
B
C
D
1 persons seated
4 13A sockets
2 TO CAT6
Wi-Fi
4 To CAT6
Security Cameras
7 To CAT6
B
B
B
C
D
D
D
D
D
D
D
C
B
Copper Cable
CAT6
Copper Cable
CAT6
C
C
FD
FD
BD
CD
Copper Cable
CAT6
MMF